# RNP pull-outs with Dynabeads

The amount of grindate used for the affinity purification depends on the relative abundance of the PrA-tagged.

| PrA-tagged bait | Molecules/cell (SGD) | Amount of grindate per purification (updated 05-2015) | Densely conjugated beads (160μg of rabbit IgG / mg of Dynabeads ~0.15μg beads / μL of solution) |
| --- | --- | --- | --- |
| Sac3-PrA | 350 | 7.5 | 50 μL |
| Thp2-PrA | 2 840 | 1 | 50 μL |
| Mex67-PrA | 3 308 | 1 | 50 μL |
| She2-PrA | 4 010 | 0.75 | 50 μL |
| Nab2-PrA | 9 670 | 0.50 | 25 μL |
| Cbp80-PrA | 11 800 | 0.50 | 12.5 μL |
| Yra1-PrA | 26 200 | 0.25 | 10 μL |

Note that the amount of material can also be adjusted according to need. For instance, for buffer optimization experiments, 0.2g of grindate (in a 1:9 powder to buffer ratio) and 10µL of IgG-coupled magnetic beads are sufficient to perform a silver-stained SDS-PAGE and western blot for a bait protein present in ~3300 copies/cell.

# Single-step AP

- Leave the weighted yeast cell grindate to warm up on ice until it has an ice cream look.

- For every gram of grindate, add 9ml of ice-cold ssAP buffer.

- Vortex at maximum speed for 30-60 seconds to resuspend the cell grindate.

- Put the tube on ice and further homogenize the grindate using the polytron at 2/3 of the maximum speed for 30 seconds being careful not to create bubbles.

- Centrifuge the tubes at 4°C, 2700 rcf, 10min.

- While the lysate is clearing in the centrifuge, take an appropriate amount of IgG-conjugated magnetic beads per sample and put them into an acetonitrile-washed 1.5ml tube and add 1ml of ssAP buffer.

Adjust the quantities according to the above table.

- Invert tubes until the beads are homogeneously dispersed.

- Magnetically recover the beads, and proceed with two more washes using the ssAP buffer and leave the beads in the last ssAP buffer wash. If more than one sample is used, beads can be pooled for washes, but should be divided in different tubes during the last wash.

- When the sample has finished centrifuging, pour the supernatant into a new tube and put the tube on magnet a holder. Aspirate the last wash from the beads using a magnet holder, then remove the washed bead tube from the magnet, and use the cleared lysate to resuspend and transfer the beads to the clear lysate tube. Rinse the pipette tip with the clear lysate that is still on magnet and wash the 1.5ml tube used for washing the beads to recover all beads.

- Incubate 30min at 4°C with slow rotation

- Prepare the Last Wash and Elution buffers, and prepare the 1.5 ml tubes (2 tubes for on-beads trypsin digestion, and 2 tubes for sample elution – the tubes for sample elution do not need to be acetonitrile washed).

- At RT, magnetically recover the beads.

- Use 1ml to recover the beads, and transfer them in a 1.5 ml tube sitting on a magnet. Wait for beads to clear from the sample, and use the cleared sample to wash and recover the beads left in the tubes used for the target binding.

- Wash the beads with 1ml of ssAP buffer. This can be done by slowly resuspending the beads with a P-1000 pipette, then putting the tube on the magnet to wait for the beads to clear the sample, and then rinsing the pipette tip with the cleared sample while the tube is still on the magnet. Alternatively, the tube can be inverted several times to resuspend and wash the beads before putting it back on the magnet. If inversion is used to resuspend and wash the beads, after putting the beads back on the magnet and sample has cleared, the tubes should be slowly inverted to recover all the beads located beneath the cap of the tube. Wash the beads 9 more times with ssAP buffer.

- Wash the beads for 5 minutes with the Last Wash Buffer.

- Wash the beads quickly 3 times with the Last Wash Buffer without detergent.

- Wash beads with the Last Wash Buffer without detergent for 5 minutes, rocking on the nutator or similar device.

- Remove 100µl of the bead suspension to a new tube for elution and subsequent PAGE gel and Western blot (Section 3 – protein elution, gel staining and western blot)

- Wash the beads with 1ml of 20mM Tris-HCl, pH8.0

- Resuspend beads in 50μl 20mM Tris-HCl, pH8.0 and continue with trypsin digest.

# Trypsin Digest

### Preparations

- Add 500-1000μl of 70% Acetonitrile in each 1.5ml low-bind tube. Vortex for 5-10min at RT. Discard Acetonitrile 70% and repeat this step two more times.

- Put the 1.5ml tubes in a beaker, close it loosely with aluminum foil and let dry over-night.

- The following day, completely cover the beaker with the aluminum foil. The tubes can be stored this way for an indefinite amount of time. Alternatively, leave the tubes open on a rack with clean Kimwipes on top until they are dry and ready to use. For ssAP of samples destined for mass spectrometry (MS), only use acetonitrile-washed low bind 1.5ml tubes.

- Solubilise 20μg of lyophilized trypsin in 20μl 20mM Tris-HCl pH 8.0 and aliquot them in 1-3μL aliquots, at a concentration of 1µg/µl. Store them at -80°C. One μg is needed to digest one sample.

### On-bead digestion

1. Over-day then over-night:

- Spike the beads with 500ng of trypsin (0.5μl). Incubate the spiked sample (4 hours, 37°C, 900 rpm).

- Transfer the supernatant into another tube and spike it with another 500ng. Let incubate overnight (12-16 hours, 37°C, shaking optional).

Incubations can also be performed over-night then over-day:

- Spike the beads with 750ng of trypsin (0.75μl) and incubate overnight (12-16 hours, 37°C, 900rpm).

- Then, transfer the supernatant into another tube and spike with 250ng trypsin. Let incubate for 3 hours (37°C, 900 rpm).

2. Quench the trypsin reaction with 2μl of a 50% formic acid solution (Final concentration ~2%).

While the sample can be stored at -20°C, it is preferable to analyse it directly by mass spectrometry.

# Protein Elution, Gel staining and Western Blot

- After the last wash, elute the purified complexes from the beads with 500μl of elution buffer (20min, RT, slow rotation).

- Transfer the eluate in a new tube and keep on ice.

- Proceed with a second elution as above (500μl Elution Buffer, 20min, RT, slow rotation). A third elution might be necessary.

- Pool the eluates, and make a hole into the lid of each 1.5 ml tube, using a 18G 1 ½ needle.

- Speed vacuum the samples over-night at room temperature (do not set any temperature on the SpeedVac).

- The next morning, solubilise the lyophilized proteins by washing the inside wall of each 1.5ml tube with 8μl of Solution A.

- Quickspin 15 sec, Vmax.

- Place the tubes in the magnetic rack, transfer the supernatants into new tubes and add 8μL of Solution B to the supernatants.

- Denature your sample at 70°C, for 10-20min.

- Load 8μL on a SDS-PAGE gel for Silver or Coomassie staining.  While the Coomassie stained used has a sensitivity of about 30ng/µl using brilliant blue R-250, silver staining is the method of choice since it has a sensitivity of less than 1ng.

- Load 1/200th of your total sample on an SDS-PAGE gel for subsequent western blotting and probing.

Always prepare 1x buffers fresh at RT (!) before doing the POs.

1xssAP buffer (50ml)

1ml 1M Hepes, pH7.4 [f.c. 20mM]

1.10ml 5M KOAc [f.c. 110mM]

250µl Triton [f.c. 0.5%]

50µl Tween 20 [f.c. 0.1%]

250µl Solution P [1:100]

10µl Antifoam B

1:5000 RNasin

NaCl [5M stock] to appropriate concentration

{1mM MgCl2 can be added also, depending on protein]

1:5000 RNasin

Last Wash buffer: [0.1M NH40Ac, 0.1mM MgCl2 0.02% Tween 20] 10ml -> 333µl 3M NH40Ac-pH7.5, 1µl MgCl2, 2µl Tween-20-Make fresh!

Last Wash buffer w/o Tween: [0.1M NH40Ac, 0.1mM MgCl2] 10ml -> 333µl 3M NH40Ac-pH7.5, 1µl MgCl2, -Make fresh!

Elution Buffer: 0.5M NH4OH, 0.5mMEDTA - 10 ml -> Add 338µl NH4OH (concentrated 14.8N), 10µl of 0.5M EDTA, 9.652ml DDH20-Make fresh!